BILL OF QUANTITIES

& REQUIREMENTS DOCUMENT

I NEED A ELECTREATION TO FITTLING LIGHT IN MY HOUSE

| Document Ref. | BOQ-122740 |
| --- | --- |
| Prepared On | 5 June 2026 |
| Status | DRAFT — For Vendor Quotation |
| Confidential | Yes — Do not distribute without authorization |

This document is intended for qualified vendors only.

BILL OF QUANTITIES (BOQ) AND REQUIREMENTS DOCUMENT

1. PROJECT OVERVIEW

- **Project Title:** Electrical Wiring Installation for Residential House

- **Project Type & Category:** Residential Electrical Installation

- **Client / Organization:** [Client Name]

- **Project Location:** Noida, Uttar Pradesh

- **Prepared Date:** 5 June 2026

- **Document Reference:** BOQ-073382

2. EXECUTIVE SUMMARY

This project involves the comprehensive electrical wiring installation for a new residential construction located in Noida, Uttar Pradesh. The client requires a complete setup of electrical wiring throughout a built-up area of 2,400 square feet, which includes multiple rooms and utility areas. The objective is to ensure a safe, efficient, and compliant electrical system that meets the client's specifications and local electrical standards.

The scope of work encompasses the installation of wiring, conduits, switches, and distribution boards, along with provisions for various electrical loads including air conditioners, geysers, and smart home systems. The project is expected to commence on July 15, 2026, and be completed by August 31, 2026, adhering to the specified budget range of ₹3,50,000 to ₹5,00,000.

3. SCOPE OF WORK

- Install electrical wiring throughout the house including:

- Bedrooms (4)

- Living Room (1)

- Dining Room (1)

- Kitchen (1)

- Bathrooms (4)

- Study Room (1)

- Balconies (2)

- Utility Area (1)

- Garage (1)

- Install conduits and cable trays as required.

- Install switches, sockets, and distribution boards.

- Ensure compliance with ISI standards and local electrical codes.

- Provision for high-load equipment including air conditioners, geysers, and EV charging points.

- Install data and CCTV points as specified.

4. BILL OF QUANTITIES (BOQ)

| No. | Description | Unit | Est. Qty | Specifications / Notes |
| --- | --- | --- | --- | --- |
| 1 | FRLS Copper Wire (1.5 mm²) | Meter | 1,200 | Finolex, ISI-certified |
| 2 | FRLS Copper Wire (2.5 mm²) | Meter | 800 | Finolex, ISI-certified |
| 3 | Heavy-duty PVC Conduit (25 mm) | Meter | 500 | ISI-certified |
| 4 | Heavy-duty PVC Conduit (32 mm) | Meter | 300 | ISI-certified |
| 5 | Legrand Switches (1-gang, 16A) | Nos | 20 | Legrand, ISI-certified |
| 6 | Legrand Sockets (2-gang, 16A) | Nos | 20 | Legrand, ISI-certified |
| 7 | Schneider Electric Distribution Board (8-way) | Nos | 1 | Schneider Electric, ISI-certified |
| 8 | Circuit Breakers (16A) | Nos | 5 | Schneider Electric, ISI-certified |
| 9 | Circuit Breakers (32A) | Nos | 2 | Schneider Electric, ISI-certified |
| 10 | Installation of Electrical Wiring | Lump Sum | 1 | Includes labor and installation |
| 11 | Installation of Conduits and Cable Trays | Lump Sum | 1 | Includes labor and installation |
| 12 | Data Points (Wi-Fi/Data) | Nos | 10 | Includes cabling and installation |
| 13 | CCTV Points | Nos | 8 | Includes cabling and installation |
| 14 | EV Charging Point Installation | Nos | 1 | Includes wiring and installation |
| 15 | Inverter/UPS Installation (5 kVA) | Lump Sum | 1 | Includes wiring and installation |

5. MATERIAL SPECIFICATIONS

- **Wiring:** FRLS Copper Wiring, Finolex brand, ISI-certified.

- **Conduits:** Heavy-duty PVC Conduits, ISI-certified.

- **Switches:** Legrand brand, ISI-certified.

- **Distribution Board:** Schneider Electric, ISI-certified.

- **Circuit Breakers:** Schneider Electric, ISI-certified.

6. TECHNICAL REQUIREMENTS

- Compliance with ISI standards and local electrical codes.

- All materials must be ISI-certified.

- Installation must follow safety standards for residential electrical systems.

- Drawings and design layouts must be provided by the contractor.

7. TIMELINE & MILESTONES

- **Project Start Date:** July 15, 2026

- **Phase 1:** Wiring Installation (July 15 - August 5, 2026)

- **Phase 2:** Conduit Installation (August 6 - August 10, 2026)

- **Phase 3:** Switches and Distribution Board Installation (August 11 - August 20, 2026)

- **Phase 4:** Final Testing and Commissioning (August 21 - August 31, 2026)

- **Project Completion Date:** August 31, 2026

8. BUDGET ESTIMATE SUMMARY

- **Electrical Wiring:** ₹1,50,000 (Estimated)

- **Conduits and Accessories:** ₹50,000 (Estimated)

- **Switches and Sockets:** ₹60,000 (Estimated)

- **Distribution Board and Circuit Breakers:** ₹40,000 (Estimated)

- **Installation Costs:** ₹1,00,000 (Estimated)

- **Total Estimated Budget:** ₹3,00,000 (within client budget range)

9. VENDOR REQUIREMENTS

- Must have experience in residential electrical installations.

- Must provide relevant certifications and insurance.

- Warranty for materials and workmanship (minimum 1 year).

- Compliance with local regulations and standards.

10. TERMS & CONDITIONS FOR QUOTATION

- **Quotation Validity Period:** 30 days from submission.

- **Payment Terms:** 30% advance, 40% upon midway completion, 30% upon final completion.

- **Penalty Clauses:** Delay beyond agreed completion date will incur a penalty of 1% of total cost per week.

- **Warranty Requirements:** Minimum 1-year warranty on materials and workmanship.

- **Submission Deadline:** July 1, 2026.

11. SUBMISSION INSTRUCTIONS

- Vendors should submit their proposals in PDF format.

- Proposals must be sent to [Client Email Address].

- For any inquiries, contact [Client Contact Number].

---

This document is intended for use by potential vendors to provide accurate quotations for the electrical installation project. Please ensure all information is reviewed and understood before submission.